Solor street lamp

Technical parameters：

Lamp above ground：6.0—14m

Solar panel：high conversion efficiency monocrystalline silicon/polycrystalline silicon solar modules

Adaptation light source：20—100W LEDlamp

Lighting time：6—10 hours

Consecutive rainy days：3—6 days

Controller：the microcumputer, digital circuit, integrated sensing technology, intelligent charger, discharge.

Battery：valve-regulated lead-acid battery for free maintenance or ordinary lead-acid battery

Applicable scope：more than 2200 hours in one year in the sunshine duration of the region

PS：as for the regional differences of solar energy resources, the specific configure of solar lighting system should be based on users and the solar radiation at the installation place.

说明：因太阳能资源的地区差异，太阳能照明系统的具体配置应根据用户和安装地点的太阳辐射量而设计。